## Regulation
Name | EPBD
Reference number | 2010/31/EU
Jurisdiction | eu
Topic
Instrument type | directive
Status | repealed
Valid from | 2010-07-08
Valid to | 2026-05-30
Modified date | 2024-05-14
Listed at
Short name (EN) | Energy Performance of Buildings Directive
Short name (DE) | Gebäuderichtlinie
Full name (EN) | Directive 2010/31/EU of the European Parliament and of the Council of 19 May 2010 on the energy performance of buildings (recast)
Full name (DE) | Richtlinie 2010/31/EU des Europäischen Parlaments und des Rates vom 19. Mai 2010 über die Gesamtenergieeffizienz von Gebäuden (Neufassung)
Description (EN) | Establishes an EU-wide framework to improve the energy performance of buildings, including minimum requirements, energy performance certificates, heating and air-conditioning inspections, and requirements for nearly zero-energy buildings.
Description (DE) | Legt einen unionsweiten Rahmen für die Verbesserung der Energieeffizienz von Gebäuden fest, einschließlich Mindestanforderungen, Energieausweisen, Inspektionen von Heizungs- und Klimaanlagen sowie Anforderungen an Niedrigstenergiegebäude.

## Rule Sets
Ref | Label (EN) | Label (DE) | Country scope | Effective from | Effective until | Applies to milestone | Expiring milestone | Source reference | Source excerpt
RS679 | Energy certificate for construction, sale or rental | Energieausweis für Bau, Verkauf oder Vermietung |  | 2013-01-09 | 2958465 | M887 |  | Article 12(1)(a) | Member States shall ensure that an energy performance certificate is issued for: (a) buildings or building units which are constructed, sold or rented out to a new tenant
RS680 | Display in publicly visited buildings over 500 m2 | Aushang bei öffentlich besuchten Gebäuden über 500 m² |  | 2013-01-09 | 2015-07-08 | M887 |  | Article 13(2) | where a total useful floor area over 500 m2 of a building for which an energy performance certificate has been issued in accordance with Article 12(1) is frequently visited by the public, the energy performance certificate is displayed
RS681 | Display in publicly visited buildings from 250 m2 | Aushang bei öffentlich besuchten Gebäuden ab 250 m² |  | 2015-07-09 | 2958465 | M889 |  | Article 13(1) | On 9 July 2015, this threshold of 500 m2 shall be lowered to 250 m2.
RS682 | Inspection of heating systems over 20 kW | Inspektion von Heizsystemen über 20 kW |  | 2013-07-09 | 2958465 | M888 |  | Article 14(1) | regular inspection of the accessible parts of systems used for heating buildings ... with boilers of an effective rated output for space heating purposes of more than 20 kW
RS683 | Biennial inspection of large boilers | Zweijährliche Inspektion großer Heizkessel |  | 2013-07-09 | 2958465 | M888 |  | Article 14(3) | Heating systems with boilers of an effective rated output of more than 100 kW shall be inspected at least every two years.
RS684 | Inspection of air-conditioning systems over 12 kW | Inspektion von Klimaanlagen über 12 kW |  | 2013-07-09 | 2958465 | M888 |  | Article 15(1) | regular inspection of the accessible parts of air-conditioning systems of an effective rated output of more than 12 kW
RS685 | New-building requirements | Neubauanforderungen |  | 2013-07-09 | 2958465 | M888 |  | Article 6(1) | For new buildings, Member States shall ensure that, before construction starts, the technical, environmental and economic feasibility of high-efficiency alternative systems ... is considered and taken into account
RS686 | Major-renovation requirements | Anforderungen bei größerer Renovierung |  | 2013-07-09 | 2958465 | M888 |  | Article 7 | when buildings undergo major renovation, the energy performance of the building or the renovated part thereof is upgraded in order to meet minimum energy performance requirements

## Conditions
Rule set | Attribute | Operator | Value | Unit | Source reference | Source excerpt

## Proposed Attributes
Key | Name (EN) | Name (DE) | Data type | Default unit | Matching type

## Obligations
Rule set | Title (EN) | Title (DE) | Kind | Frequency | Check frequency | Complexity | Business functions | Description (EN) | Description (DE) | Affected products/services (EN) | Affected products/services (DE) | Checking responsibility (EN) | Checking responsibility (DE) | Check method (EN) | Check method (DE) | Source reference | Source excerpt
| Energy certificate for construction, sale or rental | Energieausweis bei Bau, Verkauf oder Vermietung | record_keeping | event_triggered | event_triggered | 3 |  | Obtain an energy performance certificate for an affected building or building unit, show it to the prospective buyer or new tenant, and hand it over to the buyer or new tenant. | Für ein betroffenes Gebäude oder eine betroffene Gebäudeeinheit einen Energieausweis ausstellen lassen sowie ihn dem potenziellen Käufer oder neuen Mieter zeigen und dem Käufer oder neuen Mieter übergeben. | Buildings and building units that are constructed, sold or rented out to a new tenant | Gebäude und Gebäudeeinheiten, die gebaut, verkauft oder an einen neuen Mieter vermietet werden | Company acting as seller, landlord or developer under national implementation | Unternehmen als Verkäufer, Vermieter oder Bauherr nach nationaler Umsetzung | Verification that a valid energy performance certificate exists and was shown and handed over to the buyer or new tenant | Nachweis eines gültigen Energieausweises und Prüfung, ob er dem Käufer oder neuen Mieter gezeigt und übergeben wurde | Articles 12(1)(a) and 12(2) | Member States shall ensure that an energy performance certificate is issued for: (a) buildings or building units which are constructed, sold or rented out to a new tenant; ... Member States shall require that, when buildings or building units are constructed, sold or rented out, the energy performance certificate or a copy thereof is shown to the prospective new tenant or buyer and handed over to the buyer or new tenant.
| Energy indicator in advertisements | Energiekennwert in Anzeigen | record_keeping | event_triggered | event_triggered | 2 |  | State the energy performance indicator from the energy performance certificate in commercial sales or rental advertisements. | Den Energieausweis-Indikator in kommerziellen Verkaufs- oder Vermietungsanzeigen angeben. | Buildings or building units with an energy performance certificate offered for sale or rent | Gebäude oder Gebäudeeinheiten mit Energieausweis, die zum Verkauf oder zur Vermietung angeboten werden | Company offering the building or building unit | Unternehmen, das das Gebäude oder die Gebäudeeinheit anbietet | Review of sales and rental advertisements in commercial media | Prüfung von Verkaufs- und Vermietungsanzeigen in kommerziellen Medien | Article 12(4) | when ... buildings ... are offered for sale or for rent, the energy performance indicator of the energy performance certificate of the building or the building unit, as applicable, is stated in the advertisements in commercial media.
| Display of the energy performance certificate | Aushang des Energieausweises | record_keeping | continuous | continuous | 2 |  | Display the energy performance certificate in a prominent place clearly visible to the public. | Den Energieausweis an einem hervorgehobenen und für die Öffentlichkeit deutlich sichtbaren Ort aushängen. | Buildings with a total useful floor area over 500 m2 that are frequently visited by the public | Gebäude mit einer Gesamtnutzfläche über 500 m², die häufig von der Öffentlichkeit besucht werden | Company owning or operating the building | Unternehmen, das das Gebäude besitzt oder betreibt | Visual verification that the energy performance certificate is displayed in a prominent place clearly visible to the public | Sichtprüfung, ob der Energieausweis an einem hervorgehobenen, für die Öffentlichkeit deutlich sichtbaren Ort ausgehängt ist | Article 13(2) | where a total useful floor area over 500 m2 of a building for which an energy performance certificate has been issued in accordance with Article 12(1) is frequently visited by the public, the energy performance certificate is displayed in a prominent place clearly visible to the public.
| Regular inspection of heating systems | Regelmäßige Inspektion von Heizungssystemen | due_diligence | other_frequency | other_frequency | 4 |  | Arrange regular inspection of the heating system and obtain an inspection report after each inspection containing the inspection result and recommendations for cost-effective improvements. | Das Heizungssystem regelmäßig inspizieren lassen und nach jeder Inspektion einen Bericht mit dem Inspektionsergebnis und Empfehlungen für kosteneffiziente Verbesserungen erstellen lassen. | Heating systems with boilers having an effective rated output for space heating of more than 20 kW | Heizungssysteme mit Heizkesseln mit einer effektiven Nennleistung für die Raumheizung von mehr als 20 kW | Qualified or accredited inspection body or appointed expert | Qualifizierte oder akkreditierte Inspektionsstelle beziehungsweise beauftragter Experte | Regular inspection of accessible system parts, including assessment of boiler efficiency and sizing; electronic monitoring and control may affect the frequency | Regelmäßige Inspektion zugänglicher Systemteile einschließlich Bewertung von Kesselwirkungsgrad und Dimensionierung; gegebenenfalls elektronische Überwachung und Steuerung | Article 14(1) | Member States shall lay down the necessary measures to establish a regular inspection of the accessible parts of systems used for heating buildings ... with boilers of an effective rated output for space heating purposes of more than 20 kW.
| Inspection interval for large boilers | Inspektionsintervall für große Heizkessel | due_diligence | biennial | biennial | 3 |  | Meet the prescribed inspection frequency for heating systems above 100 kW. | Bei Heizungssystemen über 100 kW die vorgeschriebene Inspektionshäufigkeit einhalten. | Heating systems with boilers having an effective rated output over 100 kW, including gas boilers | Heizungssysteme mit Heizkesseln mit einer effektiven Nennleistung von mehr als 100 kW; Gasheizkessel eingeschlossen | Qualified or accredited inspection body or appointed expert | Qualifizierte oder akkreditierte Inspektionsstelle beziehungsweise beauftragter Experte | Inspection at least every two years; for gas boilers the period may be extended to four years | Inspektion mindestens alle zwei Jahre; bei Gasheizkesseln kann der Zeitraum auf vier Jahre verlängert werden | Article 14(3) | Heating systems with boilers of an effective rated output of more than 100 kW shall be inspected at least every two years. For gas boilers, this period may be extended to four years.
| Regular inspection of air-conditioning systems | Regelmäßige Inspektion von Klimaanlagen | due_diligence | other_frequency | other_frequency | 4 |  | Arrange regular inspection of the air-conditioning system and obtain a report after each inspection with the result and recommendations for cost-effective improvements. | Die Klimaanlage regelmäßig inspizieren lassen und nach jeder Inspektion einen Bericht mit Ergebnis und Empfehlungen für kosteneffiziente Verbesserungen erhalten. | Air-conditioning systems with an effective rated output of more than 12 kW | Klimaanlagen mit einer effektiven Nennleistung von mehr als 12 kW | Qualified or accredited inspection body or appointed expert | Qualifizierte oder akkreditierte Inspektionsstelle beziehungsweise beauftragter Experte | Regular inspection of accessible parts, including assessment of efficiency and sizing compared with the building's cooling requirements | Regelmäßige Inspektion zugänglicher Teile einschließlich Bewertung von Effizienz und Dimensionierung im Verhältnis zum Kühlbedarf | Article 15(1) | Member States shall lay down the necessary measures to establish a regular inspection of the accessible parts of air-conditioning systems of an effective rated output of more than 12 kW.
| Assessment of alternative energy systems for new buildings | Prüfung alternativer Energieversorgung bei Neubauten | due_diligence | event_triggered | event_triggered | 3 |  | Before construction starts, consider the technical, environmental and economic feasibility of high-efficiency alternative energy systems and document the analysis for verification. | Vor Baubeginn die technische, ökologische und wirtschaftliche Durchführbarkeit hocheffizienter alternativer Energieversorgungssysteme prüfen und die Analyse zur Überprüfung dokumentieren und verfügbar halten. | New buildings | Neu errichtete Gebäude | Developer or company undertaking the construction | Bauherr oder entwickelndes Unternehmen | Documented analysis of the technical, environmental and economic feasibility before construction starts | Dokumentierte Analyse der technischen, ökologischen und wirtschaftlichen Durchführbarkeit vor Baubeginn | Article 6(1) | For new buildings, Member States shall ensure that, before construction starts, the technical, environmental and economic feasibility of high-efficiency alternative systems ... is considered and taken into account.
| Energy performance requirements for major renovation | Energetische Anforderungen bei größerer Renovierung | due_diligence | event_triggered | event_triggered | 4 |  | For major renovations or the retrofitting or replacement of relevant building-envelope elements, upgrade energy performance to the applicable minimum requirements where technically, functionally and economically feasible. | Bei größerer Renovierung oder bei Nachrüstung beziehungsweise Ersatz relevanter Gebäudehüllenelemente die Energieeffizienz soweit technisch, funktional und wirtschaftlich machbar auf die geltenden Mindestanforderungen anheben. | Buildings undergoing major renovation and retrofitted or replaced building-envelope elements | Gebäude, die einer größeren Renovierung unterzogen werden, sowie nachgerüstete oder ersetzte Gebäudehüllenelemente | Owner or company carrying out the renovation | Eigentümer oder renovierendes Unternehmen | Assessment of technical, functional and economic feasibility and comparison with applicable minimum energy performance requirements | Prüfung der technischen, funktionalen und wirtschaftlichen Machbarkeit und Vergleich mit den geltenden Mindestanforderungen an die Gesamtenergieeffizienz | Article 7 | when buildings undergo major renovation, the energy performance of the building or the renovated part thereof is upgraded in order to meet minimum energy performance requirements set in accordance with Article 4 in so far as this is technically, functionally and economically feasible.
| Availability of evidence | Bereithaltung von Nachweisen | record_keeping | event_triggered | event_triggered | 2 |  | Make energy performance certificates and inspection reports available to competent authorities or bodies on request. | Energieausweise und Inspektionsberichte den zuständigen Behörden oder Stellen auf Anfrage verfügbar machen. | Buildings and building units with energy performance certificates and inspection reports for heating and air-conditioning systems | Gebäude und Gebäudeeinheiten mit Energieausweisen sowie Inspektionsberichte für Heizungs- und Klimaanlagen | Company holding the energy performance certificate or inspection report | Unternehmen, das den Energieausweis oder Inspektionsbericht hält | Provision on request to competent authorities or bodies | Bereitstellung auf Anfrage gegenüber zuständigen Behörden oder Stellen | Article 18(3) | Member States shall require the energy performance certificates and the inspection reports referred to in paragraph 1 to be made available to the competent authorities or bodies on request.

## Penalties
Rule set | Description (EN) | Description (DE) | Kind | Responsible authority | Source reference | Source excerpt
| The Directive requires Member States to establish effective, proportionate and dissuasive penalties for infringements of national implementing provisions. The type and amount of penalties are not specified. | Die Richtlinie verlangt, dass die Mitgliedstaaten wirksame, verhältnismäßige und abschreckende Sanktionen für Verstöße gegen nationale Umsetzungsvorschriften festlegen. Art und Höhe der Sanktionen werden nicht bestimmt. | other | National authorities designated by the Member States | Article 27 | Member States shall lay down the rules on penalties applicable to infringements of the national provisions adopted pursuant to this Directive and shall take all measures necessary to ensure that they are implemented. The penalties provided for must be effective, proportionate and dissuasive.

## Milestones
Ref | Milestone type | Date | Description (EN) | Description (DE) | Source reference | Source excerpt
M882 | adopted | 2010-05-19 | Adoption of the Directive | Annahme der Richtlinie | Preamble / final paragraph | Done at Strasbourg, 19 May 2010.
M883 | entry_into_force | 2010-07-08 | Entry into force of the Directive | Inkrafttreten der Richtlinie | Article 30 | This Directive shall enter into force on the 20th day following its publication in the Official Journal of the European Union.
M884 | other | 2011-06-30 | Deadline for establishing the comparative methodology framework for cost-optimal requirements | Frist für die Erstellung des Vergleichsrahmens für kostenoptimale Anforderungen | Article 5(1) | The Commission shall establish by means of delegated acts in accordance with Articles 23, 24 and 25 by 30 June 2011 a comparative methodology framework for calculating cost-optimal levels of minimum energy performance requirements for buildings and building elements.
M885 | repeal | 2012-02-01 | Repeal of Directive 2002/91/EC | Aufhebung der Richtlinie 2002/91/EG | Article 29 | Directive 2002/91/EC, as amended by the Regulation indicated in Annex IV, Part A, is hereby repealed with effect from 1 February 2012
M886 | transposition_deadline | 2012-07-09 | Deadline for transposition into national law | Frist für Umsetzung in nationales Recht | Article 28(1) | Member States shall adopt and publish, by 9 July 2012 at the latest, the laws, regulations and administrative provisions necessary to comply with Articles 2 to 18, and with Articles 20 and 27.
M887 | application_start | 2013-01-09 | Latest application start for certification, certificate issuance, display, inspections, controls and penalties | Spätester Anwendungsbeginn für Zertifizierung, Zertifikatsausgabe, Anzeige, Inspektionen, Kontrolle und Sanktionen | Article 28(1) | They shall apply those provisions as far as Articles 2, 3, 9, 11, 12, 13, 17, 18, 20 and 27 are concerned, from 9 January 2013 at the latest.
M888 | application_start | 2013-07-09 | Latest application start for requirements concerning buildings and technical systems | Spätester Anwendungsbeginn für Anforderungen an Gebäude und technische Systeme | Article 28(1) | They shall apply those provisions as far as Articles 4, 5, 6, 7, 8, 14, 15 and 16 are concerned, to buildings occupied by the public authorities from 9 January 2013 at the latest and to other buildings from 9 July 2013 at the latest.
M889 | application_start | 2015-07-09 | Reduction of the threshold for public buildings from 500 m² to 250 m² | Absenkung der Schwelle für öffentliche Gebäude von 500 m² auf 250 m² | Articles 12(1)(b) and 13(1) | On 9 July 2015, this threshold of 500 m2 shall be lowered to 250 m2.
M890 | application_start | 2018-12-31 | New buildings occupied and owned by public authorities must be nearly zero-energy buildings | Neue, von öffentlichen Stellen bewohnte und gehaltene Gebäude müssen Niedrigstenergiegebäude sein | Article 9(1)(b) | after 31 December 2018, new buildings occupied and owned by public authorities are nearly zero-energy buildings
M891 | application_start | 2020-12-31 | All new buildings must be nearly zero-energy buildings | Alle neuen Gebäude müssen Niedrigstenergiegebäude sein | Article 9(1)(a) | by 31 December 2020, all new buildings are nearly zero-energy buildings
M892 | other | 2021-01-01 | Latest date for evaluation of the Directive | Spätester Termin für die Bewertung der Richtlinie | Article 19 | The Commission, assisted by the Committee established by Article 26, shall evaluate this Directive by 1 January 2017 at the latest

## Linked Regulations
Link type | Target reference number | Target name