## Regulation
Name | F-Gas Regulation
Reference number | 517/2014
Jurisdiction | eu
Topic | environment
Instrument type | regulation
Status | repealed
Valid from | 2015-01-01
Valid to | 2024-03-11
Modified date | 2014-04-16
Listed at | 2026-08-06 21:12
Short name (EN) | F-Gas Regulation
Short name (DE) | F-Gas-Verordnung
Full name (EN) | Regulation (EU) No 517/2014 of the European Parliament and of the Council of 16 April 2014 on fluorinated greenhouse gases and repealing Regulation (EC) No 842/2006
Full name (DE) | Verordnung (EU) Nr. 517/2014 des Europäischen Parlaments und des Rates vom 16. April 2014 über fluorierte Treibhausgase und zur Aufhebung der Verordnung (EG) Nr. 842/2006
Description (EN) | Establishes rules for the containment, use, recovery and destruction of fluorinated greenhouse gases, restrictions on placing products and equipment on the market and on certain uses, and quantitative limits for hydrofluorocarbons placed on the Union market.
Description (DE) | Regelungen zur Eindämmung, Verwendung, Rückgewinnung und Zerstörung fluorierter Treibhausgase, zu Beschränkungen für das Inverkehrbringen und bestimmte Verwendungen sowie zur schrittweisen Verringerung der in der Union in Verkehr gebrachten teilfluorierten Kohlenwasserstoffe.

## Rule Sets
Ref | Label (EN) | Label (DE) | Country scope | Effective from | Effective until | Applies to milestone | Expiring milestone | Source reference | Source excerpt
RS712 | Operators of F-gas equipment | Betreiber von F-Gas-Ausrüstung |  | 2015-01-01 | 2958465 | M940 |  | Article 3(2) | Operators of equipment that contains fluorinated greenhouse gases shall take precautions to prevent the unintentional release (‘leakage’) of those gases.
RS713 | Equipment subject to leak checks | Leckprüfungspflichtige Ausrüstung |  | 2015-01-01 | 2958465 | M940 |  | Article 4(1) | Operators of equipment that contains fluorinated greenhouse gases in quantities of 5 tonnes of CO2 equivalent or more and not contained in foams shall ensure that the equipment is checked for leaks.
RS714 | Equipment requiring leakage detection | Ausrüstung mit verpflichtendem Leckageerkennungssystem |  | 2015-01-01 | 2958465 | M940 |  | Article 5(1) | Operators of the equipment listed in points (a) to (d) of Article 4(2) and containing fluorinated greenhouse gases in quantities of 500 tonnes of CO2 equivalent or more, shall ensure that the equipment is provided with a leakage detection system
RS715 | Companies requiring service certification | Zertifizierungspflichtige Serviceunternehmen |  | 2015-01-01 | 2958465 | M940 |  | Article 10(6) | Member States shall establish or adapt certification programmes on the basis of the minimum requirements referred to in paragraph 5 for undertakings carrying out installation, servicing, maintenance, repair or decommissioning of the equipment listed in points (a) to (d) of Article 4(2) for other parties.
RS716 | Reportable producers, importers and exporters | Berichtspflichtige Produzenten, Importeure und Exporteure |  | 2015-01-01 | 2958465 | M940 |  | Article 19(1) | each producer, importer and exporter that produced, imported or exported one metric tonne or 100 tonnes of CO2 equivalent or more of fluorinated greenhouse gases and gases listed in Annex II during the preceding calendar year shall report to the Commission
RS717 | Reportable product and equipment suppliers | Berichtspflichtige Inverkehrbringer von Produkten und Ausrüstungen |  | 2015-01-01 | 2958465 | M940 |  | Article 19(4) | each undertaking that placed 500 tonnes of CO2 equivalent or more of fluorinated greenhouse gases and gases listed in Annex II contained in products or equipment on the market during the preceding calendar year shall report to the Commission
RS814 | Servicing of refrigeration equipment using high-GWP F-gases | Wartung bestimmter Kälteanlagen mit hochklimawirksamen F-Gasen |  | 2020-01-01 | 2958465 | M944 |  | Article 13(3) | From 1 January 2020, the use of fluorinated greenhouse gases, with a global warming potential of 2 500 or more, to service or maintain refrigeration equipment with a charge size of 40 tonnes of CO2 equivalent or more, shall be prohibited.
RS815 | Certain single-split air-conditioning systems | Bestimmte Single-Split-Klimaanlagen |  | 2025-01-01 | 2958465 | M1151 |  | Annex III, point 15 | Single split air-conditioning systems containing less than 3 kg of fluorinated greenhouse gases, that contain, or whose functioning relies upon, fluorinated greenhouse gases with GWP of 750 or more

## Conditions
Rule set | Attribute | Operator | Value | Unit | Source reference | Source excerpt
RS712 | products | contains_any | equipment containing fluorinated greenhouse gases |  | Article 3(2) | Operators of equipment that contains fluorinated greenhouse gases shall take precautions to prevent the unintentional release (‘leakage’) of those gases.
RS713 | products | not_included_in | foams |  | Article 4(1) | and not contained in foams
RS714 | products | contains_any | stationary refrigeration equipment, stationary air-conditioning equipment, stationary heat pumps, stationary fire protection equipment |  | Article 5(1) | the equipment listed in points (a) to (d) of Article 4(2)
RS715 | activities | contains_any | installation, servicing, maintenance, repair, decommissioning |  | Article 10(6) | undertakings carrying out the installation, servicing, maintenance, repair or decommissioning
RS715 | products | contains_any | stationary refrigeration equipment, stationary air-conditioning equipment, stationary heat pumps, stationary fire protection equipment |  | Article 10(6) | the equipment listed in points (a) to (d) of Article 4(2)
RS716 | activities | contains_any | production, import, export |  | Article 19(1) | each producer, importer and exporter
RS717 | activities | contains_any | placing on the market |  | Article 19(4) | placed ... on the market
RS814 | products | contains_any | refrigeration equipment |  | Article 13(3) | From 1 January 2020, the use of fluorinated greenhouse gases, with a global warming potential of 2 500 or more, to service or maintain refrigeration equipment with a charge size of 40 tonnes of CO2 equivalent or more, shall be prohibited.
RS815 | products | contains_any | single split air-conditioning systems |  | Annex III, point 15 | Single split air-conditioning systems containing less than 3 kg of fluorinated greenhouse gases

## Proposed Attributes
Key | Name (EN) | Name (DE) | Data type | Default unit | Matching type

## Obligations
Rule set | Title (EN) | Title (DE) | Kind | Frequency | Check frequency | Complexity | Business functions | Description (EN) | Description (DE) | Affected products/services (EN) | Affected products/services (DE) | Checking responsibility (EN) | Checking responsibility (DE) | Check method (EN) | Check method (DE) | Source reference | Source excerpt
| Prevention of unintentional releases | Vermeidung unbeabsichtigter Freisetzungen | due_diligence | continuous |  | 3 |  | Operators must take precautions to prevent unintentional releases and all technically and economically feasible measures to minimise leakage. | Betreiber müssen Vorsichtsmaßnahmen treffen, um unbeabsichtigte Freisetzungen zu verhindern, und alle technisch und wirtschaftlich durchführbaren Maßnahmen zur Minimierung von Leckagen ergreifen. | Products and equipment containing, or whose functioning relies upon, fluorinated greenhouse gases | Produkte und Ausrüstungen, die fluorierte Treibhausgase enthalten oder deren Funktion darauf beruht | Operators | Betreiber |  |  | Article 3(2) | Operators of equipment that contains fluorinated greenhouse gases shall take precautions to prevent the unintentional release (‘leakage’) of those gases. They shall take all measures which are technically and economically feasible to minimise leakage of fluorinated greenhouse gases.
| Repair and verification of leaks | Reparatur und Nachprüfung von Leckagen | due_diligence | event_triggered |  | 3 |  | Operators must ensure that detected leaks are repaired without undue delay and, where applicable, that the repair is verified within one month. | Betreiber müssen festgestellte Leckagen unverzüglich reparieren lassen und die Wirksamkeit der Reparatur gegebenenfalls innerhalb eines Monats überprüfen lassen. | Equipment containing fluorinated greenhouse gases | Ausrüstungen mit fluorierten Treibhausgasen | Operators and certified natural persons | Betreiber und zertifizierte natürliche Personen | Repair without undue delay; verification by a certified natural person within one month where leak-checking requirements apply | Reparatur ohne unangemessene Verzögerung; Nachprüfung durch eine zertifizierte natürliche Person innerhalb eines Monats, sofern eine Leckprüfungspflicht besteht | Article 3(3) | Where a leakage of fluorinated greenhouse gases is detected, the operators shall ensure that the equipment is repaired without undue delay. Where the equipment is subject to leak checks under Article 4(1), and a leak in the equipment has been repaired, the operators shall ensure that the equipment is checked by a certified natural person within one month after the repair to verify that the repair has been effective.
| Periodic leak checks | Regelmäßige Leckprüfungen | due_diligence | other_frequency | other_frequency | 4 |  | Operators must ensure that affected equipment is checked for leaks at intervals determined by charge size and whether a leakage detection system is installed: at least every 3, 6, 12 or 24 months. | Betreiber müssen die betroffene Ausrüstung entsprechend der Füllmenge und dem Vorhandensein eines Leckageerkennungssystems mindestens alle drei, sechs, zwölf oder 24 Monate auf Leckagen prüfen lassen. | Equipment containing at least 5 tonnes of CO2 equivalent of fluorinated greenhouse gases, not contained in foams | Ausrüstungen mit mindestens 5 Tonnen CO2-Äquivalent fluorierter Treibhausgase, die nicht in Schäumen enthalten sind | Operators; certified natural persons for specified equipment | Betreiber; bei bestimmten Ausrüstungen zertifizierte natürliche Personen | Leak checks; by certified natural persons for specified equipment | Leckprüfung; bei bestimmten Ausrüstungen durch zertifizierte natürliche Personen | Article 4(3) | The leak checks pursuant to paragraph 1 shall be carried out with the following frequency:
| Leakage detection systems | Leckageerkennungssysteme | governance | continuous | other_frequency | 4 |  | Operators must ensure that affected equipment is provided with a leakage detection system and that its proper functioning is checked periodically. | Betreiber müssen die betroffene Ausrüstung mit einem Leckageerkennungssystem ausstatten und dessen ordnungsgemäße Funktion regelmäßig prüfen. | Specified refrigeration, air-conditioning, heat-pump and fire-protection equipment, electrical switchgear and organic Rankine cycles containing at least 500 tonnes of CO2 equivalent | Bestimmte stationäre Kälte-, Klima-, Wärmepumpen- und Brandschutzausrüstungen, elektrische Schaltanlagen und Organic-Rankine-Kreisläufe mit mindestens 500 Tonnen CO2-Äquivalent | Operators | Betreiber | Leakage detection system; functionality check at least annually or every six years for electrical switchgear | Leckageerkennungssystem; Funktionsprüfung mindestens jährlich beziehungsweise bei elektrischen Schaltanlagen mindestens alle sechs Jahre | Article 5(1) | Operators of the equipment listed in points (a) to (d) of Article 4(2) and containing fluorinated greenhouse gases in quantities of 500 tonnes of CO2 equivalent or more, shall ensure that the equipment is provided with a leakage detection system which alerts the operator or a service company of any leakage.
| Equipment records | Aufzeichnungen über Ausrüstung | record_keeping | continuous |  | 3 |  | Operators must establish and maintain records for each affected piece of equipment covering gas quantities, additions, recovery, involved companies and checks; records must generally be retained for at least five years. | Betreiber müssen für jedes betroffene Ausrüstungsteil Aufzeichnungen über Gasmengen, Zugaben, Rückgewinnung, beteiligte Unternehmen sowie Prüfungen erstellen und führen; die Aufzeichnungen sind mindestens fünf Jahre aufzubewahren, sofern sie nicht in einer Behörden-Datenbank gespeichert sind. | Equipment subject to leak checks under Article 4(1) | Ausrüstungen, die nach Artikel 4(1) auf Leckagen geprüft werden müssen | Operators and companies performing specified activities | Betreiber und beauftragte Unternehmen | Creation, retention and provision of equipment records | Erstellung, Aufbewahrung und Bereitstellung von Ausrüstungsaufzeichnungen | Article 6(1) | Operators of equipment which is required to be checked for leaks pursuant to Article 4(1), shall establish and maintain records for each piece of such equipment specifying the following information:
| Recovery of fluorinated greenhouse gases | Rückgewinnung fluorierter Treibhausgase | due_diligence | event_triggered |  | 4 |  | Operators must arrange for recovery of fluorinated greenhouse gases by appropriately certified persons; companies using containers immediately before disposal must arrange recovery of residual gases. | Betreiber müssen die Rückgewinnung fluorierter Treibhausgase durch entsprechend zertifizierte Personen veranlassen; Unternehmen, die Behälter unmittelbar vor ihrer Entsorgung verwenden, müssen Restgase zurückgewinnen lassen. | Fluorinated greenhouse gases and related containers | Fluorierte Treibhausgase und entsprechende Behälter | Operators and companies using containers immediately before disposal | Betreiber und Unternehmen, die Behälter unmittelbar vor der Entsorgung verwenden | Recovery by certified or appropriately qualified natural persons for recycling, reclamation or destruction | Rückgewinnung durch zertifizierte oder entsprechend qualifizierte natürliche Personen zur Wiederverwendung, Aufbereitung oder Zerstörung | Article 8(2) | The undertaking that uses a fluorinated greenhouse gas container immediately prior to its disposal shall arrange for the recovery of any residual gases to make sure they are recycled, reclaimed or destroyed.
| Certification of service companies | Zertifizierung von Fachunternehmen | approval | event_triggered |  | 4 |  | Companies carrying out the specified activities for other parties must be certified. A company assigning a task must take reasonable steps to ascertain that the assigned company holds the necessary certificates. | Unternehmen, die die genannten Tätigkeiten für Dritte durchführen, müssen zertifiziert sein. Ein Unternehmen, das eine Aufgabe vergibt, muss angemessene Schritte zur Überprüfung der erforderlichen Zertifikate des beauftragten Unternehmens unternehmen. | Installation, servicing, maintenance, repair or decommissioning of specified equipment for other parties | Installation, Wartung, Instandhaltung, Reparatur oder Stilllegung bestimmter Ausrüstungen für Dritte | Performing company and company assigning the task | Ausführendes Unternehmen und Unternehmen, das die Aufgabe vergibt | Company certification and verification of certificates held by assigned companies | Zertifizierung des Unternehmens und Überprüfung der Zertifikate beauftragter Unternehmen | Article 3(4) and Article 10(6), (11) | Undertakings carrying out the installation, servicing, maintenance, repair or decommissioning of the equipment listed in points (a) to (d) of the Article 4(2) shall be certified in accordance with Article 10(6) and (7) and shall take precautionary measures to prevent leakage of fluorinated greenhouse gases.
| Labelling of products and equipment | Kennzeichnung von Produkten und Ausrüstungen | other | event_triggered |  | 3 |  | Companies may place covered products and equipment on the market only if they are labelled as required. | Unternehmen dürfen erfasste Produkte und Ausrüstungen nur in Verkehr bringen, wenn diese vorschriftsgemäß gekennzeichnet sind. | Products and equipment containing, or whose functioning relies upon, fluorinated greenhouse gases | Produkte und Ausrüstungen, die fluorierte Treibhausgase enthalten oder deren Funktion darauf beruht | Manufacturers, importers and other companies placing products on the market | Hersteller, Importeure und sonstige Inverkehrbringer | Clear and indelible labelling with the required information | Lesbare und dauerhafte Kennzeichnung mit den vorgeschriebenen Angaben | Article 12(1) | Products and equipment that contain, or whose functioning relies upon, fluorinated greenhouse gases shall not be placed on the market unless they are labelled.
| Documentation for pre-charged equipment | Dokumentation vorbefüllter Ausrüstung | record_keeping | event_triggered | annual | 5 |  | Manufacturers and importers must fully document quota compliance and draw up a declaration of conformity. Specified importers must obtain annual independent verification and retain the documents for at least five years. | Hersteller und Importeure müssen die Quoteneinhaltung vollständig dokumentieren und eine Konformitätserklärung erstellen. Bestimmte Importeure müssen die Unterlagen jährlich unabhängig prüfen lassen und die Unterlagen mindestens fünf Jahre aufbewahren. | Pre-charged refrigeration, air-conditioning and heat-pump equipment with hydrofluorocarbons | Vorbefüllte Kälte-, Klima- und Wärmepumpenausrüstung mit Hydrofluorkohlenwasserstoffen | Manufacturers and importers; independent auditor for specified importers | Hersteller und Importeure; unabhängiger Prüfer für bestimmte Importeure | Documentation, declaration of conformity and, where applicable, independent verification; retention for at least five years | Dokumentation, Konformitätserklärung und gegebenenfalls unabhängige Prüfung; Aufbewahrung mindestens fünf Jahre | Article 14(2) | manufacturers and importers of equipment shall ensure that compliance with paragraph 1 is fully documented and shall draw up a declaration of conformity in this respect.
| Emission limitation during production | Emissionsbegrenzung bei der Herstellung | due_diligence | event_triggered |  | 4 |  | Producers must limit emissions during production, transport and storage as far as possible. Where relevant, producers or importers must provide evidence that by-product trifluoromethane was destroyed or recovered for subsequent use. | Hersteller müssen Emissionen bei Herstellung, Transport und Lagerung so weit wie möglich begrenzen. Hersteller oder Importeure müssen gegebenenfalls nachweisen, dass als Nebenprodukt erzeugtes Trifluormethan zerstört oder zur späteren Verwendung zurückgewonnen wurde. | Production of fluorinated compounds and resulting by-products | Herstellung fluorierter Verbindungen und daraus entstehende Nebenprodukte | Producers and importers when placing substances on the market | Hersteller und Importeure beim Inverkehrbringen | Emission limitation and evidence of destruction or recovery of trifluoromethane | Begrenzung von Emissionen sowie Nachweis der Zerstörung oder Rückgewinnung von Trifluormethan | Article 7(1) | Producers of fluorinated compounds shall take all necessary precautions to limit emissions of fluorinated greenhouse gases to the greatest extent possible during:
| Annual reporting | Jährliche Berichterstattung | reporting | annual | annual | 4 |  | Companies meeting the applicable quantity thresholds must report the prescribed data for the preceding calendar year to the Commission annually by 31 March. | Unternehmen, die die gesetzlichen Mengenschwellen erreichen, müssen die vorgeschriebenen Daten für das vorangegangene Kalenderjahr jährlich bis zum 31. März an die Kommission melden. | Production, import, export, destruction and placing on the market of fluorinated greenhouse gases or products and equipment containing them | Herstellung, Import, Export, Zerstörung und Inverkehrbringen fluorierter Treibhausgase oder solcher Gase enthaltender Produkte und Ausrüstungen | Reporting company | Berichtspflichtiges Unternehmen | Report to the Commission containing the data specified in Annex VII | Bericht an die Kommission mit den in Anhang VII genannten Daten | Article 19(1) | By 31 March 2015 and every year thereafter, each producer, importer and exporter that produced, imported or exported one metric tonne or 100 tonnes of CO2 equivalent or more of fluorinated greenhouse gases and gases listed in Annex II during the preceding calendar year shall report to the Commission the data specified in Annex VII
| Compliance with HFC quotas | Einhaltung von HFC-Quoten | other | annual | annual | 5 |  | Producers and importers must ensure that the quantity of hydrofluorocarbons placed on the market each year does not exceed their respective quota. | Hersteller und Importeure müssen sicherstellen, dass die jährlich in Verkehr gebrachte Menge an Hydrofluorkohlenwasserstoffen ihre jeweilige Quote nicht überschreitet. | Hydrofluorocarbons placed on the market in the Union | Hydrofluorkohlenwasserstoffe, die in der Union in Verkehr gebracht werden | Producers and importers | Hersteller und Importeure | Reconciliation of quantities placed on the market with the allocated or transferred quota | Abgleich der in Verkehr gebrachten Mengen mit der zugewiesenen oder übertragenen Quote | Article 15(1) | Producers and importers shall ensure that the quantity of hydrofluorocarbons calculated in accordance with Annex V that that each of them places on the market does not exceed their respective quota allocated pursuant to Article 16(5) or transferred pursuant to Article 18.
| Quota-registry registration | Registrierung im Quotenregister | other | one_time |  | 4 |  | Companies listed in Article 17(1) must register in the electronic registry for quotas for placing hydrofluorocarbons on the market. | Die in Artikel 17 Absatz 1 genannten Unternehmen müssen sich im elektronischen Register für Quoten zum Inverkehrbringen von Hydrofluorkohlenwasserstoffen registrieren. | Hydrofluorocarbons and certain other fluorinated greenhouse gases | Hydrofluorkohlenwasserstoffe und bestimmte andere fluorierte Treibhausgase | Producers, importers and other companies listed in Article 17(1) | Hersteller, Importeure und sonstige in Artikel 17(1) genannte Unternehmen | Registration in the electronic quota registry | Registrierung im elektronischen Quotenregister | Article 17(1) | Registration in the registry shall be compulsory for the following:
| Supplier records | Aufzeichnungen von Lieferunternehmen | record_keeping | continuous |  | 3 |  | Companies supplying fluorinated greenhouse gases must record purchasers’ certificate numbers and quantities purchased, retain the records for at least five years and provide them on request. | Lieferunternehmen müssen Aufzeichnungen über Käufer, deren Zertifikatsnummern und die gekauften Mengen erstellen, mindestens fünf Jahre aufbewahren und auf Anfrage bereitstellen. | Supply of fluorinated greenhouse gases | Lieferung fluorierter Treibhausgase | Companies supplying fluorinated greenhouse gases | Unternehmen, die fluorierte Treibhausgase liefern | Records of purchasers’ certificate numbers and quantities purchased; retention for at least five years | Aufzeichnungen über Zertifikatsnummern der Käufer und gekaufte Mengen; Aufbewahrung mindestens fünf Jahre | Article 6(3) | For the purpose of Article 11(4), undertakings supplying fluorinated greenhouse gases shall establish records of relevant information on the purchasers of fluorinated greenhouse gases including the following details:

## Penalties
Rule set | Description (EN) | Description (DE) | Kind | Responsible authority | Source reference | Source excerpt
| Companies that exceeded their HFC quota receive a quota reduced by 200% of the excess for the subsequent allocation period. If the reduction exceeds the available quota, no quota is allocated for that period and the reduction continues into subsequent periods. | Unternehmen, die ihre HFC-Quote überschritten haben, erhalten für den folgenden Zuteilungszeitraum eine um 200 % des Überschreitungsbetrags reduzierte Quote. Übersteigt die Reduzierung die verfügbare Quote, wird für diesen Zeitraum keine Quote zugeteilt und die Reduzierung auf weitere Zeiträume übertragen. | other_prohibitions_and_exclusions | European Commission | Article 25(2) | The amount of reduction shall be calculated as 200 % of the amount by which the quota was exceeded. If the amount of the reduction is higher than the amount to be allocated in accordance with Article 16(5) as a quota for the allocation period after the excess has been detected, no quota shall be allocated for that allocation period and the quota for the following allocation periods shall be reduced likewise until the full amount has been deducted.

## Milestones
Ref | Milestone type | Date | Description (EN) | Description (DE) | Source reference | Source excerpt
M937 | adopted | 2014-04-16 | Adoption of the Regulation | Annahme der Verordnung | Regulation (EU) No 517/2014 | Done at Strasbourg, 16 April 2014.
M938 | entry_into_force | 2014-06-09 | Entry into force of the Regulation | Inkrafttreten der Verordnung | Article 27 | This Regulation shall enter into force on the 20th day following that of its publication in the Official Journal of the European Union.
M939 | application_start | 2015-01-01 | Application of the Regulation | Beginn der Anwendung der Verordnung | Article 27 | It shall apply from 1 January 2015.
M940 | repeal | 2015-01-01 | Repeal of Regulation (EC) No 842/2006 | Aufhebung der Verordnung (EG) Nr. 842/2006 | Article 26 | Regulation (EC) No 842/2006 shall be repealed with effect from 1 January 2015, without prejudice to compliance with the requirements of that Regulation in accordance with the timetable set out therein.
M1150 | other | 2015-03-31 | First annual reporting deadline for companies | Erste jährliche Berichtspflicht für Unternehmen | Article 19(1) | By 31 March 2015 and every year thereafter, each producer, importer and exporter that produced, imported or exported one metric tonne or 100 tonnes of CO2 equivalent or more of fluorinated greenhouse gases and gases listed in Annex II during the preceding calendar year shall report to the Commission
M941 | application_start | 2015-06-11 | Start of the evidence requirement for destruction or recovery of trifluoromethane by-product | Beginn der Nachweispflicht zur Zerstörung oder Rückgewinnung von Trifluormethan als Nebenprodukt | Article 7(2) | This requirement shall apply from 11 June 2015.
M942 | application_start | 2017-01-01 | Start of several labelling, pre-charging and monitoring requirements | Beginn mehrerer Kennzeichnungs-, Vorbefüllungs- und Überwachungspflichten | Article 14(1) | From 1 January 2017 refrigeration, air conditioning and heat pump equipment charged with hydrofluorocarbons shall not be placed on the market unless hydrofluorocarbons charged into the equipment are accounted for within the quota system referred to in Chapter IV.
M1149 | other | 2017-01-01 | Deadline for notifying certification and training programmes to the Commission | Frist für die Mitteilung der Zertifizierungs- und Ausbildungsprogramme an die Kommission | Article 10(10) | By 1 January 2017 Member States shall notify the Commission of certification and training programmes.
M943 | application_start | 2018-01-01 | Start of the prohibition of certain SF6 uses below 850 kg per year | Beginn des Verbots bestimmter SF6-Verwendungen bei weniger als 850 kg jährlich | Article 13(1) | As regards installations using a quantity of sulphur hexafluoride below 850 kg per year, in respect of magnesium die-casting and in the recycling of magnesium die-casting alloys, this prohibition shall only apply from 1 January 2018.
M944 | application_start | 2020-01-01 | Start of the prohibition on using F-gases with a GWP of 2,500 or more for certain refrigeration equipment | Beginn des Verbots der Verwendung von F-Gasen mit einem GWP von mindestens 2 500 für bestimmte Kälteanlagen | Article 13(3) | From 1 January 2020, the use of fluorinated greenhouse gases, with a global warming potential of 2 500 or more, to service or maintain refrigeration equipment with a charge size of 40 tonnes of CO2 equivalent or more, shall be prohibited.
M946 | other | 2022-12-31 | Deadline for the Commission's comprehensive review report | Frist für den umfassenden Überprüfungsbericht der Kommission | Article 21(2) | No later than 31 December 2022, it shall publish a comprehensive report on the effects of this Regulation, including in particular:
M1151 | application_start | 2025-01-01 | Start of the prohibition for certain single-split air-conditioning systems | Beginn des Verbots bestimmter Single-Split-Klimaanlagen | Annex III, point 15 | 1 January 2025
M945 | application_start | 2030-01-01 | End of the transitional exemption for reclaimed or recycled high-GWP F-gases | Ende der Übergangsregelung für zurückgewonnene oder recycelte F-Gase mit hohem GWP | Article 13(3) | The prohibition referred to in the first subparagraph shall not apply to the following categories of fluorinated greenhouse gases until 1 January 2030:

## Linked Regulations
Link type | Target reference number | Target name
amends | 842/2006 | Regulation (EC) No 842/2006
repeals | 842/2006 | Regulation (EC) No 842/2006
related | 1493/2007 | Commission Regulation (EC) No 1493/2007
related | 1494/2007 | Commission Regulation (EC) No 1494/2007
related | 1497/2007 | Commission Regulation (EC) No 1497/2007
cites | 303/2008 | Commission Regulation (EC) No 303/2008
cites | 304/2008 | Commission Regulation (EC) No 304/2008
cites | 305/2008 | Commission Regulation (EC) No 305/2008
cites | 306/2008 | Commission Regulation (EC) No 306/2008
cites | 307/2008 | Commission Regulation (EC) No 307/2008
cites | 308/2008 | Commission Regulation (EC) No 308/2008
cites | 2003/4/EC | Environmental Information Directive
cites | 1367/2006 | Aarhus Regulation
cites | 2009/125/EC | Directive 2009/125/EC
cites | 182/2011 | Regulation (EU) No 182/2011
cites | 2006/40/EC | Directive 2006/40/EC
cites | 2003/87/EC | Directive 2003/87/EC
cites | 1907/2006 | REACH Regulation
related | 1516/2007 | Commission Regulation (EC) No 1516/2007
cites | 525/2013 | Regulation (EU) No 525/2013
cites | 4/CMP.7 | Decision 4/CMP.7
cites | 2003/4/EC | Environmental Information Directive
cites | 1367/2006 | Regulation (EC) No 1367/2006