## Regulation
Name | Preventive Systems Manual
Reference number | 13/2025
Jurisdiction | ae
Topic
Instrument type | regulation
Status | in_force
Valid from | 2025-04-14
Valid to | 2025-04-14
Modified date | 2025-04-14
Listed at
Short name (EN) | Preventive Systems Manual
Short name (DE) | Handbuch für Präventivsysteme
Full name (EN) | Administrative Resolution No. (13) of 2025 Approving the Preventive Systems Manual
Full name (DE) | Verwaltungsbeschluss Nr. (13) von 2025 zur Genehmigung des Handbuchs für Präventivsysteme
Description (EN) | Approves the Preventive Systems Manual and establishes mandatory technical, operational and security requirements for establishments regulated by Dubai’s Security Industry Regulatory Agency, including surveillance, access control, alarm, communications and physical security systems.
Description (DE) | Genehmigt das Handbuch für Präventivsysteme und legt verbindliche technische, betriebliche und sicherheitsbezogene Anforderungen für die von der Dubai Security Industry Regulatory Agency erfassten Einrichtungen fest, einschließlich Überwachungs-, Zutrittskontroll-, Alarm-, Kommunikations- und physischer Sicherheitssysteme.

## Rule Sets
Ref | Label (EN) | Label (DE) | Country scope | Effective from | Effective until | Applies to milestone | Expiring milestone | Source reference | Source excerpt
RS885 | Establishments within the scope of Resolution No. (1) of 2018 | Einrichtungen im Anwendungsbereich der Resolution Nr. (1) von 2018 |  | 2025-04-14 | 2958465 | M1218 |  | Article (2) — Scope of Application | The Manual approved under this Resolution applies to all establishments specified in the above-mentioned Board of Directors Resolution No. (1) of 2018.

## Conditions
Rule set | Attribute | Operator | Value | Unit | Source reference | Source excerpt
RS885 | activities | contains_any | establishments specified in Board of Directors Resolution No. (1) of 2018 |  | Article (2) — Scope of Application | The Manual approved under this Resolution applies to all establishments specified in the above-mentioned Board of Directors Resolution No. (1) of 2018.

## Proposed Attributes
Key | Name (EN) | Name (DE) | Data type | Default unit | Matching type

## Obligations
Rule set | Title (EN) | Title (DE) | Kind | Frequency | Check frequency | Complexity | Business functions | Description (EN) | Description (DE) | Affected products/services (EN) | Affected products/services (DE) | Checking responsibility (EN) | Checking responsibility (DE) | Check method (EN) | Check method (DE) | Source reference | Source excerpt
| Compliance with Manual minimum requirements | Einhaltung der Mindestanforderungen des Handbuchs | governance | continuous | continuous | 5 |  | Establishments must comply with the minimum requirements and technical standards set out in the approved Manual. | Die Einrichtungen müssen die im genehmigten Handbuch festgelegten Mindestanforderungen und technischen Standards einhalten. | All establishments specified in Resolution No. (1) of 2018 and the security systems used there. | Alle in der Resolution Nr. (1) von 2018 genannten Einrichtungen und die dort eingesetzten Sicherheitssysteme. | Company or establishment; oversight by SIRA. | Unternehmen bzw. Einrichtung; Überwachung durch SIRA. | Review of compliance with the Manual's technical specifications and requirements. | Prüfung der technischen Spezifikationen und Anforderungen des Handbuchs. | Chapter Nine — Exceptional Cases | Everything mentioned in the Preventive Systems Manual is the minimum specifications and requirements that must be adhered to. Under no circumstances may equipment, installation, or implementation be carried out with specifications or requirements less than the minimum. It is not permissible to fail to adhere to any of its provisions except with official approval from SIRA.
| Secure placement and logging of digital recording devices | Sicherung und Protokollierung digitaler Aufzeichnungsgeräte | record_keeping | continuous | continuous | 4 |  | Digital recording devices must be installed in secure, clean and constantly monitored locations, with access restricted to authorized personnel and a continuous auditable log of entry, exit and activities maintained. | Digitale Aufzeichnungsgeräte müssen an sicheren, sauberen und ständig überwachten Orten installiert werden; der Zugang ist auf befugtes Personal zu beschränken und ein fortlaufendes, prüffähiges Protokoll über Zutritte, Austritte und Tätigkeiten ist zu führen. | Digital recording devices and the locations where they are installed. | Digitale Aufzeichnungsgeräte und die Räume, in denen sie installiert sind. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Review of the location, access restrictions and continuous auditable log. | Prüfung des Standorts, der Zugangsbeschränkungen und des fortlaufenden Prüfprotokolls. | Chapter Six — The Sustainability of Security Systems | All digital recording devices must be installed in secure, clean, and constantly monitored locations. Access to them must be restricted to authorized personnel only, and tampering with them must be prevented. The facility is fully responsible for maintaining a continuous, auditable log containing details of entry, exit, and activities related to the location where these devices are installed.
| Dedicated networks and firewall protection | Dedizierte Netzwerke und Firewall-Schutz | governance | continuous | continuous | 4 |  | Security systems must use independent connections dedicated solely to them. Connection to external networks is allowed only for integration purposes, with prior written SIRA approval and a firewall. | Für Sicherheitssysteme müssen unabhängige, ausschließlich dedizierte Verbindungen verwendet werden. Eine Verbindung zu externen Netzwerken ist nur zu Integrationszwecken und nach vorheriger schriftlicher Genehmigung von SIRA mit Firewall zulässig. | Security systems and their network connections. | Sicherheitssysteme und deren Netzwerkverbindungen. | Establishment; SIRA for required approvals. | Einrichtung; SIRA für erforderliche Genehmigungen. | Technical review of network segregation and firewall approval. | Technische Prüfung der Netzwerktrennung und der Firewall-Genehmigung. | Chapter Six — The Sustainability of Security Systems | All security system connections must be independent and dedicated solely to serving the security systems. These connections may not be part of an external wiring network and may not be connected to it unless the connection is for integration purposes. In that case, a firewall must be provided to secure it after obtaining prior written approval from SIRA.
| Notification of system failures | Meldung von Systemausfällen | reporting | event_triggered | event_triggered | 2 |  | The facility must immediately notify SIRA and the maintenance company of any incident that prevents the security systems from functioning. | Die Einrichtung muss SIRA und das Wartungsunternehmen unverzüglich über jeden Vorfall informieren, der die Funktionsfähigkeit der Sicherheitssysteme beeinträchtigt. | Security systems, cameras, recording devices and network equipment. | Sicherheitssysteme, Kameras, Aufzeichnungsgeräte und Netzwerkausrüstung. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Review of incident reports and immediate notifications. | Prüfung der Störungsmeldung und der unverzüglichen Benachrichtigung. | Chapter Six — The Sustainability of Security Systems | The facility is fully responsible for immediately notifying SIRA and maintenance company of any incident that prevents the security systems from functioning.
| Recording and notification of system changes | Dokumentation und Meldung von Systemänderungen | record_keeping | event_triggered | event_triggered | 3 |  | The user, facility, and maintenance and installation service provider must maintain a sustainable change record and notify SIRA of any total or partial change affecting the security systems or their effectiveness. | Der Nutzer, die Einrichtung sowie der Wartungs- und Installationsdienstleister müssen ein fortlaufendes Änderungsprotokoll führen und SIRA über jede vollständige oder teilweise Änderung an Sicherheitssystemen, ihrer Umgebung oder ihrer Wirksamkeit informieren. | Security systems and changes to them. | Sicherheitssysteme und deren Änderungen. | User, facility, and maintenance and installation service provider. | Nutzer, Einrichtung sowie Wartungs- und Installationsdienstleister. | Review of the change log and notification submitted to SIRA. | Prüfung des Änderungsprotokolls und der an SIRA übermittelten Meldung. | Chapter Seven — Maintenance, Development and Modification of Security Systems | The user, facility, and maintenance and installation service provider are obliged to maintain a sustainable record and to notify SIRA when performing any work, procedure, or activity that results in a total or partial change, even if minor:
| Annual maintenance contract | Jährlicher Wartungsvertrag | record_keeping | annual | annual | 3 |  | The facility must enter into an annual maintenance contract with a company registered with SIRA. The contract must include a preventive maintenance program with at least four visits per year. | Die Einrichtung muss einen jährlichen Wartungsvertrag mit einem bei SIRA registrierten Unternehmen abschließen. Der Vertrag muss ein vorbeugendes Wartungsprogramm mit mindestens vier Besuchen pro Jahr enthalten. | The facility's security systems. | Sicherheitssysteme der Einrichtung. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Review of the maintenance contract and documented maintenance visits. | Prüfung des Wartungsvertrags und der dokumentierten Wartungsbesuche. | Chapter Seven — Maintenance, Development and Modification of Security Systems | The facility is committed to entering an annual maintenance contract with one of the companies registered with SIRA. The contract must include a preventive maintenance program with no less than four visits per year, along with the legal response and penalties for failure to comply. The facility is responsible for notifying SIRA if it fails to implement the terms of the maintenance contract.
| Employee responsible for security systems | Verantwortlicher Mitarbeiter für Sicherheitssysteme | governance | continuous | continuous | 3 |  | The facility must designate an employee responsible for its security systems. The employee must be familiar with their operation, perform operational tasks, ensure proper operation and immediately report malfunctions. | Die Einrichtung muss einen Mitarbeiter für ihre Sicherheitssysteme benennen. Dieser muss mit der Bedienung vertraut sein, betriebliche Aufgaben ausführen, den ordnungsgemäßen Betrieb sicherstellen und Störungen unverzüglich melden. | Security systems and their operation. | Sicherheitssysteme und deren Bedienung. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Review of the employee's designation, competence and activity records. | Prüfung der Benennung, Qualifikation und Tätigkeitsprotokolle des Mitarbeiters. | Chapter Three — Management and Operation | An employee must be responsible for the facility's security systems. They must be familiar with the use and operation of the systems and perform all operational tasks, such as copying, searching, and uploading clips, as well as efficiently handling system components. This employee is also responsible for ensuring the proper operation of the systems and immediately reporting any malfunctions, according to established procedures.
| Surveillance-system signage | Beschilderung von Überwachungssystemen | other | one_time | continuous | 1 |  | SIRA-approved standard warning signs and labels indicating the presence of surveillance systems must be placed at all main entrances and inside elevators. | An allen Haupteingängen und in den Aufzügen müssen von SIRA genehmigte Standardwarnzeichen und -etiketten angebracht werden, die auf das Vorhandensein von Überwachungssystemen hinweisen. | Surveillance systems at the establishment. | Überwachungssysteme in der Einrichtung. | Establishment or facility. | Einrichtung beziehungsweise Facility. | On-site inspection of signs at entrances and inside elevators. | Vor-Ort-Prüfung der Beschilderung an Eingängen und in Aufzügen. | Chapter Three — Management and Operation | Standard warning signs and labels approved by SIRA must be placed at all main entrances and inside the elevators, alerting the presence of surveillance systems.
| Recording-copy operation log | Aufzeichnungsprotokoll für Kopiervorgänge | record_keeping | event_triggered | event_triggered | 2 |  | A record must be maintained for each copying operation, containing all details of the operation, who performed it, where it was kept or who received it, according to the approved form. | Für jeden Kopiervorgang muss ein Datensatz mit allen Angaben zum Vorgang, zur ausführenden Person, zum Aufbewahrungsort oder zum Empfänger nach dem genehmigten Formular geführt werden. | Copies of recordings from security systems. | Kopien von Aufzeichnungen aus Sicherheitssystemen. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Review of the copying record against the approved form. | Prüfung des Kopierprotokolls anhand des genehmigten Formulars. | Chapter Three — Management and Operation | A record must be provided for each copying operation, containing all data related to the copying operation, who made it, where it was kept, or who received it, according to the approved form.
| Time and date synchronization | Synchronisierung von Zeit und Datum | governance | continuous | continuous | 3 |  | The time and date of all security systems must be real, correct and consistent, and system components must automatically synchronize and update those values. | Die Uhrzeit und das Datum aller Sicherheitssysteme müssen korrekt, real und konsistent sein; die Systemteile müssen die Werte automatisch synchronisieren und aktualisieren. | Time and date systems of all security systems. | Uhren- und Datumssysteme aller Sicherheitssysteme. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Technical review of real-time accuracy, consistency and automatic synchronization. | Technische Prüfung der Echtzeit, Konsistenz und automatischen Synchronisierung. | Chapter Three — Management and Operation | The time and date that all security systems operate on must be real, correct, and consistent with reality, and all the different parts of the systems must be synchronized and update the time and date value automatically and in accordance with the related systems operating in SIRA.
| Approval for deviations | Genehmigung für Abweichungen | approval | event_triggered | continuous | 4 |  | The facility may depart from the Manual only with official SIRA approval; prior written approval must be obtained for specified systems and integrations. | Die Einrichtung darf Bestimmungen des Handbuchs nur mit offizieller Genehmigung von SIRA nicht einhalten; für bestimmte Systeme und Integrationen sind vorherige schriftliche Genehmigungen einzuholen. | The establishment's security systems. | Sicherheitssysteme der Einrichtung. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Review of approved system components and SIRA approvals. | Prüfung der genehmigten Systemkomponenten und der SIRA-Zulassungen. | Chapter Nine — Exceptional Cases | It is not permissible to fail to adhere to any of its provisions except with official approval from SIRA.
| Camera installations requiring approval | Genehmigungspflichtige Kamerainstallationen | approval | event_triggered | event_triggered | 2 |  | The facility may use PTZ cameras in private areas, hidden cameras, or external roof cameras whose monitoring range exceeds the facility boundaries only with SIRA approval. | Die Einrichtung darf Kameras mit Schwenk- und Zoomfunktion in privaten Bereichen, versteckte Kameras oder externe Dachkameras mit über die Grundstücksgrenzen hinausreichendem Überwachungsbereich nur mit SIRA-Genehmigung verwenden beziehungsweise installieren. | Pan-tilt-zoom cameras in private areas, hidden cameras and external roof cameras. | Pan-Tilt-Zoom-Kameras in privaten Bereichen, versteckte Kameras und externe Dachkameras. | Establishment or facility; approval by SIRA. | Einrichtung beziehungsweise Facility; Genehmigung durch SIRA. | Review of camera installations and SIRA approval. | Prüfung der Kamerainstallation und der SIRA-Genehmigung. | Chapter Eight — Prohibitions | It is prohibited to use cameras with pan and zoom capabilities in private areas unless SIRA approval is obtained. The use of hidden cameras is prohibited unless SIRA approval is obtained. It is prohibited to install external cameras on the roof whose monitoring range exceeds the boundaries of the relevant facility unless SIRA approval is obtained.
| Retention of video recordings | Aufbewahrung von Videoaufzeichnungen | record_keeping | continuous | continuous | 4 |  | Video recordings must be retained for the minimum period and at the required quality prescribed by the Manual for the relevant establishment and activity. | Videoaufzeichnungen müssen je nach Einrichtung und Tätigkeit für die im Handbuch vorgeschriebene Mindestdauer und in der vorgeschriebenen Qualität aufbewahrt werden. | All establishments with video surveillance systems. | Alle Einrichtungen mit Videoüberwachungssystemen. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Technical review of recording retention and quality. | Technische Prüfung der Aufzeichnungsdauer und -qualität. | Chapter Twelve — Security Requirements for Financial and Monetary Institutions, Second — Specifications and Security Requirements, A | Recording retention period: Not less than 31 days for on-site cameras and not less than 75 days for ATM cameras.
| System health monitoring | Systemgesundheitsmonitoring | governance | continuous | continuous | 3 |  | The establishment must install a SIRA-approved system health monitoring service where required for its activity. | Die Einrichtung muss einen von SIRA genehmigten Dienst zur Überwachung des Systemzustands installieren, sofern dies für ihre Tätigkeit vorgeschrieben ist. | Security systems and surveillance equipment of establishments for which system health monitoring is required. | Sicherheitssysteme und Überwachungseinrichtungen von Einrichtungen, für die ein Systemgesundheitsmonitoring vorgeschrieben ist. | Establishment or facility. | Einrichtung beziehungsweise Facility. | Review of installation and SIRA approval of the monitoring service. | Prüfung der Installation und der SIRA-Zulassung des Monitoringdienstes. | Chapter Two — Remote Communication Requirements | Installing system health monitoring service approved by SIRA
| Secure cash transfer and bag opening | Sichere Geldübergabe und Beutelöffnung | other | event_triggered | event_triggered | 4 |  | Money transfer companies and their clients must receive and deliver cash in secure, sealed and numbered bags; handovers must occur at secure camera-monitored locations, and bags may be opened only by a designated employee at the cash center under camera surveillance. | Geldtransferunternehmen und ihre Kunden müssen Bargeld in sicheren, versiegelten und nummerierten Beuteln empfangen und liefern; Übergaben müssen an sicheren, kameraüberwachten Orten erfolgen, und Beutel dürfen nur durch einen bezeichneten Mitarbeiter im Bargeldzentrum unter Kameraüberwachung geöffnet werden. | Money transfer and money delivery services. | Geldtransfer- und Geldlieferdienste. | Money transfer company and its clients. | Geldtransferunternehmen und seine Kunden. | Review of sealed bags, serial numbers, monitored handover locations and opening procedures. | Prüfung der versiegelten Beutel, Seriennummern, überwachten Übergabeorte und Öffnungsvorgänge. | Chapter Forty-Two — Security Requirements for Transfer and Delivery of Money, A | Receiving and delivering cash in secure, sealed bags with serial numbers. The customer's pickup and delivery must take place in a secure location monitored by cameras to record the process. The bag must only be opened at the cash center by a designated employee under camera surveillance, after ensuring the integrity of the bag and the bag lock's security serial number.

## Penalties
Rule set | Description (EN) | Description (DE) | Kind | Responsible authority | Source reference | Source excerpt

## Milestones
Ref | Milestone type | Date | Description (EN) | Description (DE) | Source reference | Source excerpt
M1218 | adopted | 2025-04-14 | Issuance of Administrative Resolution No. (13) of 2025 approving the Preventive Systems Manual. | Erlass der Verwaltungsresolution Nr. (13) von 2025 zur Genehmigung des Handbuchs für Präventivsysteme. | Article (4) — Publication and Commencement | Issued in Dubai on 14 April 2025

## Linked Regulations
Link type | Target reference number | Target name
cites | 12 of 2016 | Law No. (12) of 2016 Regulating the Security Industry in the Emirate of Dubai
cites | 1 of 2018 | Board of Directors Resolution No. (1) of 2018 Issuing the Implementing Bylaw of Law No. (12) of 2016 Regulating the Security Industry in the Emirate of Dubai